mRNA Trajectory Analysis

Overview

This repository contains MATLAB and Python scripts for classifying the motion types of single mRNA trajectories, simulating diffusive and directed trajectories, and quantifying directional persistence by turning-angle analysis. The scripts support the analyses in the manuscript "Directed transport of mRNAs in the nucleus".

Repository contents

1. classify_fulllength_median.m

Classification of experimental mRNA trajectories into static, superdiffusive, diffusive and subdiffusive classes.

2. classify_simulated_fulllength_median.m

Classification of simulated trajectories, used to estimate the diffusive baseline and the detection rate.

3. diffusion_trajectory_simulation.py

Simulation of two-dimensional Brownian trajectories, with diffusion coefficients and track lengths sampled jointly from experimental data.

4. directed_trajectory_simulation.m

Simulation of directed trajectories with an adapted kinesin stepping model.

5. turning_angle_analysis.m

Quantification of directional persistence from turning angles between successive displacement vectors.

6. Demo.xlsx

Demo dataset (see Demo below).

System requirements

MATLAB scripts

- Tested with MATLAB R2025a.

- The Parallel Computing Toolbox is optional and accelerates the turning-angle analysis. Without it, the script uses a standard for loop.

Python script

- Tested with Python 3.13.15.

- Required packages (tested versions): NumPy 2.5.2, pandas 3.0.5, Matplotlib 3.11.1, openpyxl 3.1.5, and xlrd 2.0.2 (only needed for legacy `.xls` files).

- The script uses `tkinter` for its graphical interface. `tkinter` is included with most Python distributions but may need to be installed separately on some Linux systems.

Hardware

- A standard desktop or laptop computer is sufficient. No specialized hardware is required. Memory use depends on the number and length of the trajectories analyzed or simulated.

Operating systems

- Tested on Windows 11. Other operating systems supported by MATLAB and Python are expected to work but have not been tested systematically.

Installation

No installation is required. Download or clone the repository and run the scripts in MATLAB or Python. The Python dependencies can be installed with:

pip install numpy pandas matplotlib openpyxl xlrd

This typically takes less than 5 min on a standard desktop computer.

Demo

The demo dataset, `Demo.xlsx`, contains 9 trajectories across three worksheets: 3 simulated diffusive trajectories (`Simulated diffusion trajectory`), 3 simulated directed trajectories (`Simulated directed trajectory`), and 3 experimental mRNA trajectories (`mRNA trajectory`). To run the demo:

1. Open MATLAB and set the current folder to the repository directory.

2. Run `classify_fulllength_median.m` and select `Demo.xlsx` to classify the experimental mRNA trajectories in the `mRNA trajectory` worksheet.

3. Run `classify_simulated_fulllength_median.m` and select `Demo.xlsx` to classify the simulated diffusive and directed trajectories in the `Simulated diffusion trajectory` and `Simulated directed trajectory` worksheets.

The output is saved in the output folder specified by each script.

Script descriptions

1. classify_fulllength_median.m

Classifies experimental trajectories as static, superdiffusive, diffusive or subdiffusive. Static trajectories are identified from whole-trajectory measures; motile trajectories are then analyzed with 20-frame sliding windows, and a trajectory is classified as superdiffusive if at least one window meets all superdiffusion criteria. Four methods of estimating alpha within each window are implemented: method 1, log-log slope of the squared displacement r²(τ) from the first frame of the window; method 2, slope of the time-averaged MSD over all lags; methods 3 and 4, as method 2 but using only the first half or the first third of the lags.

Input

- An Excel workbook (.xlsx or .xls), selected when prompted. All worksheets are processed.

- Each worksheet must contain the columns:

- Time: time in seconds

- mRNA_ID: track identifier

- x, y, z: coordinates in µm

- Column names are detected automatically, ignoring capitalization and spaces. Each row is one localization of a particle at one time point.

Default parameters

- Frame interval: 0.016241 s

- Sliding-window length: 20 frames

- Superdiffusive window: alpha > 1.25, R² >= 0.75 and median localization-error-corrected MSD(τ)/τ > 0.36 µm²/s

- Static trajectory: D_track <= 0.01 µm²/s or net squared displacemen t<= 0.15 µm²

- Subdiffusive trajectory: alpha_track < 0.75

- Localization precision: sigma_x = 0.015 µm, sigma_y = 0.0132 µm These parameters can be modified at the beginning of the script.

Output (saved in 1a1.25fulllength_classification_median/ in the folder of the input workbook)

- Summary.xlsx: pooled and per-sheet classification summaries

- All_tracks_all_methods.xlsx: track-level results for all four methods

- Method1_Selected_20Frames.xlsx to Method4_Selected_20Frames.xlsx

20-frame windows selected by each method

How to run

1. Open MATLAB and set the current folder to the repository directory.

2. Run classify_fulllength_median.m.

3. Select the trajectory workbook when prompted.

4. Retrieve the results from the output folder.

2. classify_simulated_fulllength_median.m

Applies the same four methods to simulated trajectories. Because the simulated diffusive trajectories were generated with D > 0.01 µm²/s and the directed trajectories move by design, all trajectories are treated as motile and the static step is skipped.

Input

- Same format as for classify_fulllength_median.m.

Default parameters

- As for classify_fulllength_median.m, without the static criteria.

Output (saved in 1a1.25simulated_fulllength_median all/)

- Summary.xlsx: classification counts and percentages, pooled and per sheet

- All_tracks_all_methods.xlsx: track-level results for all four methods

- Method1_Selected_20Frames.xlsx to Method4_Selected_20Frames.xlsx

Interpretation

- For simulated diffusive trajectories, the fraction classified as superdiffusive is the diffusive baseline. For simulated directed trajectories, it is the detection rate. Both depend on trajectory properties, localization precision, track lengths and thresholds.

How to run

As for classify_fulllength_median.m, selecting the simulated trajectory workbook.

3. ‎diffusion trajectory_simulation_D and frame joint.py

Generates two-dimensional Brownian trajectories through a graphical interface. For each simulated trajectory, the diffusion coefficient (D_track) and the number of frames (n_frames) are drawn together, with replacement, from the same row of an experimental table, preserving the pairing between diffusion coefficient and track length.

Input

- A file with the columns D_track (µm²/s) and n_frames.

- In the manuscript, this table contained experimental trajectories with D_track > 0.01 µm²/s.

- Supported formats: .xlsx, .xls, .csv, .txt and .dat.

Model

- Displacements in x and y at each time step are drawn independently from a normal distribution with mean 0 and standard deviation sqrt(2 D dt).

- Independent Gaussian localization error is added to each x and y coordinate. Localization precision is entered in nm and converted to µm.

- Initial positions are drawn uniformly between 0 and 10 µm.

Default parameters

- Trajectories per replicate: 100

- Frame interval: 0.016241 s

- Replicates: 1

- Localization precision: 15 nm (x), 13.2 nm (y)

Output (for each replicate N, with a user-specified prefix)

- <prefix>_repN.xlsx: worksheets Trajectories and D_parameters

- <prefix>_repN.csv: trajectory coordinates

- <prefix>_repN_tracks.csv: sampled D_track and n_frames

- <prefix>_repN_trajectories.png: plot of the trajectories

The trajectory table contains Time (s), mRNA_ID, and x, y, z (µm); z is 0.

How to run

1. Install Python and the required packages (see Installation).

2. Run: python diffusion_trajectory_simulation.py

3. Select the input file containing D_track and n_frames.

4. Set the number of trajectories, frame interval, replicates, localization precision, output folder and prefix in the interface.

5. Click GENERATE TRAJECTORIES and retrieve the output files.

4. directed_trajectory_simulation.m

Generates directed trajectories with a stepping model adapted from Ferro et al. (eLife, 2019). The cargo advances in 60-nm steps with a dwell time equal to the frame interval (16.2 ms), giving a run velocity of 3.7 µm/s. At each step, the cargo continues with probability 0.6 and enters a pause with probability 0.4; pauses have a mean duration of 100 ms, during which the cargo jitters with 60-nm steps within a region of 100-nm radius. Localization error is added as for the diffusive simulation.

Default parameters

- Number of trajectories: 2000

- Step size: 60 nm

- Continuation probability ("fraction" in the script): 0.6

- Dwell times: 0.016241 s (stepping) and 0.1 s (mean pause)

- Frame interval: 0.016241 s

- Localization precision: 15 nm (x), 13.2 nm (y)

- Jitter during pauses: radius 100 nm, step 60 nm, interval 0.016241 s

- Track length: fixed at 45 frames (length_mode = 'fixed'); with length_mode = 'sample', lengths are drawn from frame_counts

- Output file: motor_traces_2.csv

Output

- CSV file with Time (s), mRNA_ID and x, y (µm).

Reproducibility

- The random seed is set to 'shuffle' by default, so each run generates different trajectories. Set a fixed numeric seed to reproduce a simulation.

How to run

1. Open MATLAB and set the current folder to the repository directory.

2. Edit the parameters at the beginning of the script if needed.

3. Run the script and retrieve the CSV file.

5. turning_angle_analysis.m

Calculates turning angles between successive displacement vectors and summarizes their distributions. For a position r(t), the two vectors are

v1 = r(t + L) - r(t)  v2 = r(t + 2L) - r(t + L)

with L = 8 frames. The calculation is repeated with t advancing by one frame. Angles are excluded if the required positions are missing or either vector has zero length. For each group, the script reports the mean cos θ, the fraction of angles within forward cones of 30°, 45°, 60° and 90°, and Rayleigh test statistics (P values calculated with Zar's approximation).

Input

- An Excel workbook with the columns Sheet, mRNA_ID, X and Y (µm) and Time (s), such as the Method2_Selected_20Frames.xlsx files exported by the classification scripts. A track is defined by the combination of Sheet and mRNA_ID and must contain at least 17 frames.

Key parameters

- Lag: 8 frames

- Rose-plot bins: 72; margin factor: 1.05

- Forward cones: 30°, 45°, 60° and 90°

Output (saved in newmethod4TurningAngle_Lag8/)

- Angles_Lag8.xlsx: turning angles

- Stats_Lag8.xlsx: summary statistics

- Rose plots and folded-angle plots (EPS and PNG) for each group

Excel outputs are split across worksheets when they exceed Excel's row limit.

How to run

1. Open MATLAB and set the current folder to the repository directory.

2. Run turning_angle_analysis.m and select the input workbook when prompted.

3. Retrieve the results from the output folder.

Contact

Weirui Ma (maweirui@zju.edu.cn); Linlin Ji (13792821247@zju.edu.cn)